## COLUMN DEFINITIONS
Why do Public Water Systems (PWSs) need to provide this information?
Under Section §141.84 of the Lead and Copper Rule Revision (LCRR), all community Public Water Systems (PWS) “must develop an inventory to identify the materials of service lines connected to the public water distribution system. The inventory must include all service lines connected to the public water distribution system regardless of ownership status.”
What specifically does the LCRR materials inventory require?
Subparagraph §141.84 (a) (4) of the LCRR states that “each service line, or portion of the service line where ownership is split, must be categorized” as belonging to one of the following groups: lead; non-lead; lead status unknown; or galvanized requiring replacement.
COLUMN LETTER | COLUMN NAME | OPTIONAL/ REQUIRED | COLUMN DESCRIPTION | VALID VALUES | VALID VALUES DESCRIPTION | CSV HEADER NAME
A | SITE ID | OPTIONAL | PWSs that do not wish to report site addresses to the department in column B may want to use this column to “link” their materials inventory table to a separate service address table for their own use. | Any value |  | site_id
B | LOCATIONAL IDENTIFIER | REQUIRED | Sub-subparagraph §141.84 (a)(8)(i) of the LCRR requires a location identifier associated with each service line. The locational identifier can be the site address, or it can be a block, intersection, or landmark. The locational identifier MUST be unique. The locational identifier, once assigned, should NEVER change. MassDEP will use the locational identifier to uniquely identify the location. It will be used in our database as the unique primary key. | Any value | Must be unique | locational_identifier
C | CONNECTOR (GOOSENECK/PIGTAIL) CURRENTLY PRESENT? | REQUIRED | Is there a gooseneck, lead connector or pigtail present? | YES NO UNK | YES = Yes, Known with Certainty NO = No, Known with Certainty UNK = Unknown, Not Known with Certainty | connector_present
D | CONNECTOR (GOOSENECK/PIGTAIL) MATERIAL | CONDITIONALLY REQUIRED | Identify the connector material if known. If column C is "YES" then this column is required. | L C B S PVC HDPE O UNK-NOLG | L = Lead C = Copper B = Brass S = Steel PVC = Plastic (PVC) HDPE = Plastic (HDPE) O = Other, does not contain lead or lead solder UNK-NOLG = Unkown, definitely does not contain lead or galvanized | connector_material
E | IS THE SERVICE LINE COMPRISED OF MULTIPLE MATERIALS? | REQUIRED | Is the service line made up of more than one material? If "YES" then "CURRENT BUILDING SERICE LINE MATERIAL (1) - UPSTREAM" (column F) and "CURRENT BUILDING SERVICE LINE MATERIAL (2) - DOWNSTREAM" (column G) are required. If "NO" then only "CURRENT BUILDING SERICE LINE MATERIAL (1) - UPSTREAM" (column F) is required. | YES NO | YES = Yes, the service line is made up of more than one material NO = No, the service line is made up of ONLY ONE material | multiple_materials
F | CURRENT BUILDING SERVICE LINE MATERIAL (1) - UPSTREAM | REQUIRED | The current upstream service line pipe material. | L C G PVC HDPE DI CI-L CI-U B OTH UNK-LG UNK-NOLG | L = Confirmed Lead C = Confirmed Copper G = Confirmed Galvanized PVC = Plastic (PVC) HDPE = Plastic (HDPE) DI = Ductile Iron CI-L = Lined Cast Iron CI-U = Unlined Cast Iron B = Brass OTH = Other, definitely does not contain lead or galvanized UNK-LG = Unknown, may contain lead and/or galvanized UNK-NOLG = Unknown, definitely does not contain lead or galvanized | current_sl_material_one
G | CURRENT BUILDING SERVICE LINE MATERIAL (2) - DOWNSTREAM | CONDITIONALLY REQUIRED | The current downstream service line pipe material. If column E is "YES" then required. | L C G PVC HDPE DI CI-L CI-U B OTH UNK-LG UNK-NOLG | L = Confirmed Lead C = Confirmed Copper G = Confirmed Galvanized PVC = Plastic (PVC) HDPE = Plastic (HDPE) DI = Ductile Iron CI-L = Lined Cast Iron CI-U = Unlined Cast Iron B = Brass OTH = Other, definitely does not contain lead or galvanized UNK-LG = Unknown, may contain lead and/or galvanized UNK-NOLG = Unknown, definitely does not contain lead or galvanized | current_sl_material_two
H | WAS THE BUILDING SERVICE LINE MATERIAL (1), COLUMN F, EVER PREVIOUSLY LEAD? | REQUIRED | Was the upstream service line ever previously lead? | YES NO UNK | YES = Yes, Known with Certainty NO = No, Known with Certainty UNK = Unknown, Not Known with Certainty | sl_prev_lead
I | BUILDING SERVICE LINE INSTALL DATE (YYYY) | REQUIRED | The four-digit year that the utility-side service was installed (e.g. 1974). If the exact year is not known, enter the decade (e.g 1970s, 2000s). If unknown, was the service line installed Pre-Lead-Ban (PLB) or After-Lead-Ban (ALB). | PLB ALB Valid Regular Expression Patterns: ^((1{1}(?:[89])[0-9]{1})¦(2{1}(?:[0])[0-2]))[0]{1}'?s{1}$ ^[1-2]{1}[0-9]{3}$ | PLB = Pre lead ban ALB = After lead ban E.g., 1910's, 1910s, 1920's, 1920s E.g., 1974, 1993, 2003, 2020 | sl_install_date
J | VERIFICATION METHOD | REQUIRED | Methodology used for verification of service line material. If more than one verification method was used pick the most accurate/highest verification method. Other methods can be reported in column K. | F V A C S O | F = Field Inspection by PWS: This is considered the most accurate verification method that uses a physical and visual inspection by a trained staff person. Typically, at the time of meter replacement, service line replacement, or special inspections such as pot holing and vacuum excavation. V = Records Review: This verification method includes review of PWS current or past records. Including Tap/tie cards, distribution system main replacement or leak detection or any projects where service line material may have been recorded by PWS. Other potential sources of information in a community might include plumbing and building permits, or inspectional services records, or year of construction. A = Statistical Analysis: This verification method a qualified consultant uses statistical modeling and machine learning to predict the presence of lead service lines saving time and resources looking for lead service lines. C = Customer Self-Identification: This verification method uses information collected from building occupants, and typically in includes photos of the service line. The MassDEP Crowdsourcing application or a similar software solution can be used to collect the and verify the information. S = Sequential Monitoring: This verification method can be used if the physical inspections, records review or statistical analysis are not feasible. This method employs a process of taking five 1-liter samples and analyzing the samples for lead to determine if the service line is likely lead. O = Other MassDEP-Approved Method: Alternative methods. Examples – electrical resistance acoustic wave, eddy current, other technologies that may be developed. DEP can and will review these approaches for validity and accuracy. | verification_method
K | OTHER MASSDEP APPROVED VERIFICATION METHOD | CONDITIONALLY REQUIRED | Describe the other MassDEP-Approved verification method. Required if O (Other) is selected for column J. |  |  | other_verification_method
L | ENTIRE SERVICE LINE CLASSIFICATION | REQUIRED | This is a calculated value. It will be automatically calculated based on changes made to the following columns: - CURRENT BUILDING SERVICE LINE MATERIAL (1) - UPSTREAM (COLUMN F) - CURRENT BUILDING SERVICE LINE MATERIAL (2) - DOWNSTREAM (COLUMN G) - WAS THE BUILDING SERVICE LINE MATERIAL (1), COLUMN F, EVER PREVIOUSLY LEAD? (COLUMN H) To calculate the value select one or more of the cells in the column for ENTIRE SERVICE LINE CLASSIFICATION and then right-click. From the context menu select DEP: Inventory Col. Options > Column L > Calculate Entire Service Line. | LEAD NON-LEAD GALVANIZED REQUIRING REPLACEMENT LEAD STATUS UNKNOWN |  | entire_service_line_classification
M | SERVICE LINE CURRENT USE | REQUIRED | Identify if servcice is used for potable or non-potable use. | P NP | P = Potable NP = Non-Potable | sl_current_use
N | COMMENTS | OPTIONAL | Additional information about this service location. | Any value |  | comments
O | BUILDING SERIVCE LINE SIZE | OPTIONAL | Service line pipe diameter in inches (e.g. 3/4", 0.75), from the water main to curb stop. This column may be used by PWSs that wish to track information required in a single document. | 3/8" 1/2" 5/8" 3/4" 1" 1 1/4" 1 1/2" 1 3/4" 2" 3" 4" 6" 8" 10" 12" 14" 16" OTH |  | sl_size
P | BUILDING TYPE | REQUIRED | The type of structure that is served water by the service connection. At a minimum, the PWS must identify the connection either SF, MF or NONRES. | SF MF SCH/CC RES/CC NONRES MIX O | SF = Single-Family Residence MF = Multi-Person Dwelling SCH/CC = School/Child Care Center RES/CC = Residential & In-Home Child Care NONRES = Nonresidential, Non-School, Non-Childcare MIX = Mixed Residential & Nonresidential O = Other | building_type
Q | LCR SAMPLING LOCATION? | REQUIRED | Is this location a Lead and Copper Rule (LCR) sample site? | YES NO |  | lcr_location
R | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | CONDITIONALLY REQUIRED | Is the cold-water kitchen and/or bathroom tap treated by point-of-entry or point-of-use softening, filter or other treatment? Required if column C is "YES". | YES NO UNK | YES = Yes, Known with Certainty NO = No, Known with Certainty UNK = Unknown, Not Known with Certainty | poe_pou_treatment
S | BUILDING PLUMBING MATERIAL 1 | CONDITIONALLY REQUIRED | The type of plumbing material(s) inside the structure for serving water. Required if column C is "YES". | L C CLS B PEX O UNK | L = Lead C = Copper CLS = Copper w/ Lead Solder B = Brass PEX = Cross-Linked Polyethylene O = Other, does not contain Lead or Lead Solder UNK = Unknown | building_plumbing_material_1
T | BUILDING PLUMBING MATERIAL 2 | OPTIONAL | If there is more than one known plumbing material type. | L C CLS B PEX O UNK | L = Lead C = Copper CLS = Copper w/ Lead Solder B = Brass PEX = Cross-Linked Polyethylene O = Other, does not contain Lead or Lead Solder UNK = Unknown | building_plumbing_material_2
U | PLUMBING MATERIAL INSTALL DATE (YYYY) | CONDITIONALLY REQUIRED | The four-digit year, or decade (e.g., 1960's), that the interior premise plumbing was installed. If the decade is in 1980s, enter one of: 1983-1984, <1983, or >1984. Required if column C is "YES". | < 1983 1983-1984 > 1984 Valid Regular Expression Patterns: ^((1{1}(?:[89])[0-9]{1})¦(2{1}(?:[0])[0-2]))[0]{1}'?s{1}$ ^[1-2]{1}[0-9]{3}$ | E.g., 1910's, 1910s, 1920's, 1920s E.g., 1974, 1993, 2003, 2020 | building_plumbing_material_install_date
V | BUILDING PLUMBING RENOVATIONS OR REPAIR DATES | OPTIONAL | List dates on which building plumbing renovations or repairs were performed, separated by semicolons, e.g. 12/01/2020; 1/24/1999; |  | Dates formatted as MM/DD/YYYY, e.g.05/01/2020. Note, use two-digit months and days using a leading zero where applicable. | plumbing_renovations_repair_dates
W | SAMPLING SITE TIER | CONDITIONALLY REQUIRED | The Tier classification for the LCR Sampling Location. This is a calculated value based on the following columns: - CONNECTOR (GOOSENECK/PIGTAIL) CURRENTLY PRESENT? (COLUMN C) - CONNECTOR (GOOSENECK/PIGTAIL) MATERIAL (COLUMN D) - WAS THE BUILDING SERVICE LINE MATERIAL (1), COLUMN F, EVER PREVIOUSLY LEAD? (COLUMN H) - ENTIRE SERVICE LINE CLASSIFICATION (COLUMN L) To calculate the value select one or more of the cells in the column for SAMPLING SITE TIER and then right-click. From the context menu select DEP: Inventory Col. Options > Column W > Calculate Sampling Site Tier. | TIER 1 TIER 2 TIER 3 TIER 4 TIER 5 NA |  | tier

## INVENTORY
SITE ID | LOCATIONAL IDENTIFIER | CONNECTOR (GOOSENECK / PIGTAIL) CURRENTLY PRESENT? | CONNECTOR (GOOSENECK /PIGTAIL) MATERIAL | IS THE SERVICE LINE COMPRISED OF MULTIPLE MATERIALS? | CURRENT BUILDING SERVICE LINE MATERIAL (1) - UPSTREAM | CURRENT BUILDING SERVICE LINE MATERIAL (2) - DOWNSTREAM | WAS THE BUILDING SERVICE LINE MATERIAL (1), COLUMN F, EVER PREVIOUSLY LEAD? | BUILDING SERVICE LINE INSTALL DATE (YYYY) | VERIFICATION METHOD | OTHER MASSDEP APPROVED VERIFICATION METHOD | ENTIRE SERVICE LINE CLASSIFICATION | SERVICE LINE CURRENT USE | COMMENTS | BUILDING SERVICE LINE SIZE | BUILDING TYPE | LCR SAMPLING LOCATION? | POINT-OF-ENTRY OR POINT-OF-USE TREATMENT PRESENT? | BUILDING PLUMBING MATERIAL 1 | BUILDING PLUMBING MATERIAL 2 | BUILDING PLUMBING MATERIAL INSTALL DATE (YYYY) | BUILDING PLUMBING RENOVATIONS OR REPAIR DATES | SAMPLING SITE TIER
| 19 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 21 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC009 | 23 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1970s |  | TIER 5
| 25 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC005 | 27 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1970s |  | TIER 5
1B | 29 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 31 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 33 North Shore Road | NO |  | NO | UNK-NOLG |  | NO | 2019 | V |  | NON-LEAD | P |  | 3/4" | SF | NO |  |  |  |  | 2019
| 34 North Shore Road | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 35 North Shore Road | NO |  | NO | C |  | NO | 2024 | V |  | NON-LEAD | P |  | 3/4" | SF | NO |  |  |  |  | 2024
| 1 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 5 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 11 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 15 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 17 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 19 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 21 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 22 Old Oak Ave | NO |  | NO | UNK-NOLG |  | NO | 2023 | V |  | NON-LEAD | P |  | 3/4" | SF | NO |  |  |  |  | 2023
LC006 | 23 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1970s |  | TIER 5
| 25 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 28 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 29 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC003 | 31 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1970s |  | TIER 5
| 32 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 33 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 34 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 36 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 37 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 39 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 40 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC007 | 41 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1960s |  | TIER 5
| 42 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC002 | 43 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1960s |  | TIER 5
| 44 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 45 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC004 | 46 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1960s |  | TIER 5
| 47 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 49 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 50 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 51 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC001 | 53 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1930s |  | TIER 5
| 54 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 57 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 61A Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 61B Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 63 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
LC008 | 65 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | YES | UNK | CLS | UNK | 1940s |  | TIER 5
1A | 66 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 67 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 68 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 69 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 71 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 73 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 75 Old Oak Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 16 Pine Street | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 2 Rigdge Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 8 Ridge Ave | NO |  | NO | C |  | NO | 1989 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 29 Ridge Ave | NO |  | NO | UNK-NOLG |  | NO | 2000 | V |  | NON-LEAD | P |  | 3/4" | SF | NO
| 31 Ridge Ave | NO |  | NO | UNK-NOLG |  | NO | 2000 | V |  | NON-LEAD | P |  | 3/4" | SF | NO

## STATE (hidden)
2332005 | FALSE | TRUE | C:\Users\Derekk\Documents